## 1. Contents
Workbook Contents
Click on tabs at the bottom of the screen to access the following:
Tab 1. Contents (current tab)
Tab 2. Storm Sewer Hydraulic Design
Why you shouldn’t give copies of this workbook away
We at EngineeringExcelTemplates.com hope that you find this workbook useful. If you
would like us to develop additional useful spreadsheets for you in the future, then encourage
your friends and colleagues to buy their own copies, rather than allowing them to copy
the spreadsheet you purchased. We have deliberately set our prices so low that no one
can really claim that they can’t afford to pay. But low prices will work for us—that is, we
can stay in business—only if we can sell enough copies. Bottom line: the more you get
other people to pay for their own copies, the more low-cost useful spreadsheets will be
available for you in the future.
This workbook is provided "as is", without warranty of any kind, express or
implied.
Find more Excel spreadsheets for engineering at
EngineeringExcelTemplates.com
Copyright © 2011 Engineering Excel Templates. All Rights Reserved.

## 2. Storm Sewer Hydr Design
Storm Sewer Hydraulic Design (U.S. units) | [9 empty] | NOTES: | (Each line in the spreadsheet designs the pipe between two adjacent manholes assuming that the
(Numbers are for the sewer line along Maple Ave from 8th St to 4th St - see manhole map below) | [10 empty] | pipe flows at Vmin, when flowing full and that it carries at least the design flow rate when flowing full.)
Instructions: Enter values in blue boxes. Spreadsheet calculates values in yellow boxes | [9 empty] | Col. 1: Enter information from the manhole layout map. |  |  |  | (see the example manhole layout map below)
Design Value of Manning Roughness Coefficient, n = |  |  |  |  | 0.013 |  |  |  |  | Col. 2 & 3: Measure distance between manholes and area draining to the inlet .
Design Value of Minimum Ground Cover for the Sewer = |  |  |  |  | 5 | ft |  |  |  | Col. 4 calculates the cumulative area draining to the section of pipe being designed.
| Design value of Vmin for full pipe flow = |  |  |  | 3 | ft/sec |  |  |  | Col. 5: Enter the runoff coefficient value for the current area increment
col. 1 | col. 2 | col. 3 | col. 4 | col. 5 | col. 6 | col. 7 | col. 8 | col. 9 | col. 10 | Col. 6: Calculates the weighted average runoff coefficient C [ = (C1A1 + C2A2 +…)/Cumul. Area
|  | area | cumul. | Increm. | weighted ave | inlet
| Length | increment | area | runoff coeff. | runoff coeff. | time | tC | i | Qbranch | Col. 7: Enter the inlet time for the drainage area to the section of pipe being designed.
Line | ft | acres | acres | Cincr | C | min | min | in/hr | cfs | Col. 8 calculates the time of concentration for the section of pipe being designed.
8th - 7th | 343 | 4.5 | 4.5 | 0.3 | 0.3 | 18 | 18 | 5.5828 | 0 | Col. 9: enter the design storm intensity for specified return period and storm duration
7th - 6th | 470 | 3.7 | 8.2 | 0.35 | 0.32256 | 18 | 19.9056 | 5.2876 | 0 |  | equal to the time of concentration.
6th - 5th | 478 | 5.07 | 13.27 | 0.28 | 0.3063 | 18 | 22.5167 | 4.9304 | 0
5th - 4th | 560 | 5.16 | 18.43 | 0.41 | 0.33533 | 18 | 25.1722 | 4.6134 | 0 | Col. 10 enter the flow rate for any branch inflow (other than from the surface grate) for this manhole
If all flow is from the surface inlet enter zero.
col. 11 | col. 12 | col. 13 | col. 14 | col. 15 | col. 16 | col. 17 | col. 18 | col. 19
col. 14: pipe slope; col. 15: surface |  | Col. 11 calculates the design stormwater flow using Q = CiA
Qdes | Dpipe | Dstd | (Vfull = Vmin) | slope | Vfull | Qfull | V1/2full | Length
cfs | in | in | ft/ft | ft/ft | ft/sec | cfs | ft/sec | ft |  | Col. 12 calculates the pipe diameter to give V = Vmin with flow rate = Qdes, using
[11 empty] | Qdes = (Vmin)A = (Vmin)(pD2/4) |  | ( Vmin is set at 3 ft/s for the example )
7.5368 | 21.462 | 24 | 0.0017264 | 0.00017493 | 3 | 9.4248 | 2.4 | 343
13.9858 | 29.2361 | 36 | 0.0010054 | 0.0011915 | 3 | 21.2058 | 2.4 | 470 |  | Col. 13: Enter the next larger standard pipe diameter.
20.0402 | 34.9967 | 36 | 0.0010054 | 0.0012971 | 3 | 21.2058 | 2.4 | 478
28.512 | 41.7436 | 42 | 0.00081861 | 0.00023214 | 3 | 28.8634 | 2.4 | 560 |  | Col. 14 calculates the pipe slope to Vfull = Vmin with the pipe diameter set at Dstd
using the Manning equation: V = (1.49/n)(D/4)2/3(S1/2) ( n = 0.013 for the example )
col. 20 | col. 21 | col. 22 | col. 23 | col. 24 |  | col. 25 | col. 26 | col. 27
col. 19: pipe slope |  | Col. 15 calculates the ground surface slope using surface elevations from Col 18 & 19.
tpipe | Ground Elev, ft |  | Invert Elev, ft |  |  | Cover Depth, ft |  | for design
min | upper | lower | upper | lower |  | upper | lower | ft/ft |  | Col. 16 & 17 calculate Vfull and Qfull, using the Manning equation, with pipe diam. = Dstd and
col. 12: 67.25; col. 13: 67.19 |  |  | pipe slope = selected slope (pipe slope or surface slope) ( min. cover = 5 ft in the example )
1.9056 | 67.19 | 66.63 | 60.25 | 59.6579 |  | 5 |  | 0.0017264
2.6111 | 66.63 | 66.01 | 58.6579 | 58.1853 |  | 5.5321 | 5.4447 | 0.0010054 |  | Col. 18 calculates the half full velocity, using V1/2full = 0.8*Vfull.
2.6556 | 66.01 | 65.88 | 58.1853 | 57.7047 |  | 5.4447 | 5.3053 | 0.0010054
3.1111 |  |  | 57.2047 | 56.7463 |  | 5.3053 | 5.6337 | 0.00081861 |  | Col. 19 & 20 calculate the pipe flow time, using tpipe = length/Vfull.
col. 11: derivation of IDF equation [i = a/(b + d)] for T = 25 years, 10 min < d < 30 min: |  | Col. 21 & 22: Enter values from the manhole map.
col. 12: d, min; col. 13: 1/i, hr/in; col. 14: i, in/hr |  | Col. 23 & 24 calculates the invert elevation at each manhole using the ground surface elevation,
minimum cover, pipe slope, and pipe diameter.
| 10 | 0.1355 | 7.38 |  | slope = | 0.0052476 | = 1/a
col. 12: 15; col. 13: 0.16556; col. 14: 6.04 |  | Col. 25 & 26 calculate the cover depth as a check to be sure it is adequate.
| 30 | 0.24155 | 4.14 |  |  | a = 1/slope = |  | 190.5631
Col. 27: Enter the selected design slope (typically pipe slope or surface slope)
col. 15: intercept =; col. 17: 0.084664; col. 18: = b/a |  |  | This slope is used in Col 15, 16, & 23 calculations.
col. 17: b = a*intercept =; col. 19: 16.1338 |  | For derivation of the IDF equation, enter data for storm duration, d, vs storm intensity, i, from an IDF
col. 11: The IDF equation is thus: i = 191/(d + 16.1) |  |  | graph or table for the sewer location at the specified design return period.
The Excel formulas will calculate 1/i, and calculate the constants a and b for the equation,
i = a/(d + b), based on linear regression of d vs 1/i.
The derived equation can then be used to calculate design storm intensity, i, for Col. 8.
Standard pipe sizes in inches for most types of pipe used as storm sewers:
4, 6, 8, 10, 12, 14, 16, 18, 21, 24, 27, 30, 33, 36, 39, 42, 48, 54, 60
Manhole Map for Example Calculations
Find more Excel spreadsheets at:
EngineeringExcelTemplates.com
Copyright © 2011 Engineering Excel Templates. All Rights Reserved.